FMC User group Meeting Minutes – 13 Dec 18

Attendees:

| Tom Bertenshaw | TB | GKN Aerospace |
| --- | --- | --- |
| Ray ten Grotenhuis | RtG | OPG |
| Paul Wilcox | PW | University of Bristol |
| Caper Wassink | CW | Eddyfi |
| Chris Udell | CU | Proceq |
| David Reilly | DR | Zetec |
| Dave Lines | DL | Self / University of Strathclyde |
| Prashanth Kumar Chinta | PKC | GE |
| Eskil Skoglund | ES | Dophitech |
| ABHISHEK Saini | AS | NTU |
| Oliver Burat | OB | Framatome |
| Adri van den Biggelar | AvdB | Applus RTD |
| Fredrik Lingvall | FL | unknown |

Agenda:

- Common File format update

- FMC applications & Recommended Practices

- Calibration

- AOB

Notes Transcript

MFMC common file format

The following approach was presented:

- Create common file spec

- Create example MFMC files conforming to the specification

- An online test utility that confirms if a file matches the specification

- Example code in various languages showing how to use the public HDF5 library functions to read/write an MFMC file conforming to spec

- An online viewer (potentially downloadable version?) enabling the raw data in an HDF5 file to be navigated

- Compiled dynamic link libraries for various platforms that contain a minimal set of functions that force compliance with the MFMC file specification

The summary of input provided on the Common file format from the members to date was as follows:

- The inclusion of the following into meta data:

  - Post process image data

  - Details on coded inputs

  - Details on geometry of component

- As the requirements/needs evolve, these can be added as/when required

- Design with the evolution of the file format in mind

PW also expressed the need to pay a software developer to create an App for checking of files meet the format spec.

FMC applications

The latest update:

- Weld (steel) Inspection

- Composite Material inspection

- Additively Manufactured parts

- Concrete testing

- Corrosion mapping

- Hydrogen damage in steel components (e.g. HTHA)

- Zirconium niobium pressure tubes

- Cast Austenitic Stainless Steel

| Equipment providers |  | Research Institutions |  | Industrial end users | (Sector) |  | Codes & Standards |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Zetec | 1-3, 5-7 | MTC | 1-3,5-8 | GKN Aerospace | Aerospace | 2,3 | ASME |  |
| Olympus | 1-6 | Strathclyde University |  | OPG | Power gen | 3,5,7 | IIW/ISO |  |
| Eddyfi | 1-3, 5-7 | Bristol University |  | Framatome | Nuclear power gen | 1,8 | ASTM |  |
| Sonomatic |  | EPRI | 1-6 | EDF | Power gen | 1,8 |  |  |
| GE | 1-3, 5-7 | Sound mathematics Ltd | 1,5 | GE | Power gen? |  |  |  |
| Dophitech |  | TWI |  | Westinghouse | Power Gen & Nuclear |  |  |  |
| Applus RTD | 1,2,5,6 |  |  | BP | Oil & Gas |  |  |  |
| PEAK NDT | 1-6 |  |  | Space X | Space |  |  |  |
| AOS | 1-5 |  |  | Rolls Royce | Aerospace & Marine |  |  |  |
| TPAC (with AOS) |  |  |  |  |  |  |  |  |
| Proceq | 1,4,5 |  |  |  |  |  |  |  |

Calibration

Nothing was specifically presented on this topic but PW suggested a requirement to calibrate time ‘0’. This is done by selecting x2 backwalls and calibrating thickness off standard thickness plate. It is planned to look at other calibration suggestions for future meetings.

AOB

TB described that the standard for Non-destruction Testing terminology is being revised, with the inclusion of FMC terminology as defined by IIW group. However, AvdB was able to clarify the following:

- The content of EN 16018 Non-destructive testing — Terminology — Terms used in ultrasonic testing with phased arrays is being revised and will be published as ISO 23243. During this revision also FMC-TFM and related terminology will be included. The intention is that ISO 23243 will be adopted as EN-ISO so it can replace EN 16018 (and BS-EN 16018).

- Currently an ISO/DIS enquiry is ongoing, so technical comments can be submitted via the national standardisation organisations (BSI, AFNOR, DIN etc.). The closing date for ISO is mid-January and typically the national organisations will need the input 1 or 2 weeks before, contact your national organisation for details.

- The terminology being discussed in the IIW working group FMC-TFM will be submitted to ISO as well.

TB described the role of the BINDT website to upload meeting minutes and approved documents from these meetings. For data files for sharing or other files that require revision level control: these documents can be placed onto drop sites such as “SourceForge” or “GISHub”

Post meeting note: The FMC user group webpage has now been launched, This will be shown at the next meeting.

TOF

The Terms of reference document was reviewed, where a couple of modifications were suggested:

- “Production of a guide of agreed terminology” should be “help define any new FMC terminology definitions that are currently not defined in the ISO standard for UT phased array terminology”

- RtG suggested to include TFM within the Terms of Reference, since it is not addressed properly. Pierre @ CEA is addressing TFM. Furthermore, Robert Smith at Bristol University had a way of checking reconstructed data. TB will follow up on this.

CW: Next IIW meeting in Paris is on the 20th Dec 2018, if anyone happens to be in the area.